## Baselining tender q's (hidden)
Number | Question/comment | Proposal | answer
1 | do we want 12 months of meter data or just the service window. NIE ask for 12 months - don't really know why unless they don't validate the data then they would want to see a 12 month profile to ensure no one is lying | not sure we can ask for meter data we don't need under GDPR or the DPIA
2 | are we going to validate their meter data? | yes we should to avoid errors and manipulation
3 | who has a tool we can review. NIEs has errors (CB advised), none of the Flexible power DNOs have an online tool. | UK PN have one so I am using that as a base
4 | if the baseline is at the asset level but the bid is at the unit level - does this matter in terms of metering, settlement etc | addressed in the tool
5 | Do we need to take account of exports? | for autoproducers we just want the import metering. For storage, the baseline will be 0
6 | is 15 min meter data measured in kW or kWh? Residental meter data is kWh so assume 15 min is also in kWh so need to convert the kWh to kW whih forms the baseline |  | spoke to PSR and the meter data is measuerd in kW so don't need to convert
UKPN ask for 1/2 hourly metering data in MWh and divide the average by 0.5 to get MWs (I think)
7 | tool only allows for 15 min meter data - if there is 30 min meter data will need a separate tool | have one ready but don't publish to avoid confusion

## Tool instructions
Entity | Step | Instructions
FSP | 1 | Locate relevant top 10 days of peak demand per zone per Product in the 10 Peak Days in Service Window tab
FSP | 2 | Enter the 10 dates in the Baseline calc template for each FSA
FSP | 3 | Enter zone name
FSP | 4 | Enter Product (Please use a separate worksheet for each Product being tendered and for each FSU)
FSP | 5 | Enter Service Window per Appendix 1 of the Flexibility Specification
FSP | 6 | Enter Delivery period using 24 hour clock per Appendix 1 of the Flexibility Specification
FSP | 7 | Enter 15 minute meter data (using 2019) for each of the 10 peak days and for each asset forming part of the FSU.
FSP | 8 | Enter the MPRNs associated with each Asset
The tool will calculate the average of the meter data in the defined Service Window/Delivery Period
ESB Networks are providing the following in this workbook:
1. A worked example of a baseline.
2. The baseline calculation template for each zone.
Please review the worked example before completing the calcuation template.
Instructions for completing the 'Baseline calc template' worksheet is below.
Note the Settlement Period 1 (meter window time stamp 00:15) refers to an average within the interval 00:00 - 00:15, and so on. This means that if the Delivery Period is 16:00-17:00, the meter window time stamps will be 16:15-17:00.

## Calc explanation - to hide (hidden)
What does the calculation do
1 | ESBN has identified the top 10 day of peak demand
2 | The FSP has input 15 min meter data for each of the 10 days for each of the assets. This is from row 26 downwards. ESBN will do this in the pilot
3 | There is a formula is each cell in rows 12-21 which is summing the kW data for each asset in the time period on that day
for example: the calc in cell F12 is the sum of each kW meter data for every asset between 00:00 to 00:15 on the 4/12/20
for example: the calc in cell F13 is the sum of each kW meter data for every asset between 00:00 to 00:15 on the 19/12/20
4 | ESBN will insert the Delivery period in cell C6 and D6 using 24hr time clock. Note there is an issue with the 96 settlement period if it it part of the delivery period so need to figure out a way how to capture that. the 96 settlement period will not be in any of the pilot zones so not an issue for now
5 | the Delivery period row in orange (starting in cell E2) will put a 1 in the cell if within the ESBN defined delivery period, and a 0 if outside of the delivery period.
6 | The baseline position calc in blue (in cell C8) is taking the average of the data in the green area, if there is a 1 in the orange row

## Worked example
Example
|  |  |  | Delivery Period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Zone Name | Zone A |  | Meter window | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 0:00
| Product | Secure |  | Settlement Period | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
| Service Window | November to April inclusive
| Delivery period | 16:00 | 19:00
| Baseline position (kW) | 324.8003
| Baseline position (MW) | 0.325
Example of 10 peak days | FSU Overall Average
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | Calculation | 255 | 254 | 242 | 243 | 254 | 242 | 243 | 247 | 245 | 241 | 236 | 237 | 240 | 230 | 240 | 238 | 239 | 231 | 238 | 237 | 244 | 237 | 245 | 255 | 248 | 288 | 318 | 309 | 323 | 313 | 339 | 325 | 322 | 307 | 306 | 304 | 291 | 287 | 283 | 286 | 289 | 291 | 297 | 286 | 295 | 295 | 303 | 292 | 304 | 302 | 296 | 314 | 313 | 297 | 298 | 298 | 293 | 288 | 278 | 279 | 284 | 280 | 274 | 273 | 269 | 285 | 269 | 278 | 273 | 267 | 270 | 267 | 264 | 267 | 269 | 277 | 262 | 265 | 259 | 259 | 257 | 257 | 255 | 256 | 253 | 254 | 245 | 236 | 242 | 237 | 239 | 232 | 233 | 234 | 238 | 228
2020-12-19 | Day 2 |  |  |  | 245 | 241 | 239 | 233 | 241 | 239 | 233 | 228 | 227 | 226 | 225 | 219 | 222 | 224 | 221 | 218 | 222 | 211 | 211 | 206 | 210 | 238 | 328.28 | 319.92 | 338.93 | 319.14 | 316.57 | 352.55 | 360.04 | 357.76 | 375.44 | 397.73 | 425.91 | 391.68 | 395.23 | 400.84 | 390.45 | 394.67 | 400.03 | 397.82 | 413.8 | 447.57 | 415.3 | 412.2 | 437.72 | 442.47 | 420.92 | 420.82 | 412.29 | 408.01 | 417.66 | 416.31 | 413.25 | 403.88 | 397.92 | 395.82 | 408.16 | 426.08 | 401.76 | 395.62 | 397.6 | 394.04 | 394.1 | 396.85 | 420.24 | 401.43 | 386.9 | 387.65 | 384.35 | 382.39 | 390.9 | 408.31 | 393.12 | 380.32 | 379.78 | 399.12 | 392.67 | 378.14 | 375.51 | 367.68 | 377.47 | 374.92 | 405 | 372.42 | 370.45 | 372.13 | 365.32 | 356.67 | 367.43 | 336.93 | 339.05 | 359.41 | 340.11 | 330.7 | 331.9 | 331.55
2020-12-23 | Day 3 |  |  |  | 252 | 247 | 246 | 246 | 247 | 246 | 246 | 247 | 248 | 245 | 248 | 245 | 244 | 240 | 243 | 236 | 240 | 272 | 274 | 248 | 240 | 236 | 323.28 | 314.92 | 333.93 | 314.14 | 311.57 | 347.55 | 355.04 | 352.76 | 370.44 | 392.73 | 420.91 | 386.68 | 390.23 | 395.84 | 385.45 | 389.67 | 395.03 | 392.82 | 408.8 | 442.57 | 410.3 | 407.2 | 432.72 | 437.47 | 415.92 | 415.82 | 407.29 | 403.01 | 412.66 | 411.31 | 408.25 | 398.88 | 392.92 | 390.82 | 403.16 | 421.08 | 396.76 | 390.62 | 392.6 | 389.04 | 389.1 | 391.85 | 415.24 | 396.43 | 381.9 | 382.65 | 379.35 | 377.39 | 385.9 | 403.31 | 388.12 | 375.32 | 374.78 | 394.12 | 387.67 | 373.14 | 370.51 | 362.68 | 372.47 | 369.92 | 400 | 367.42 | 365.45 | 367.13 | 360.32 | 351.67 | 362.43 | 331.93 | 334.05 | 354.41 | 335.11 | 325.7 | 326.9 | 326.55
2020-12-31 | Day 4 |  |  |  | 260 | 259 | 247 | 248 | 259 | 247 | 248 | 252 | 250 | 246 | 241 | 242 | 245 | 235 | 245 | 243 | 244 | 236 | 243 | 242 | 249 | 242 | 250 | 260 | 253 | 293 | 323 | 314 | 328 | 318 | 344 | 330 | 327 | 312 | 311 | 309 | 296 | 292 | 288 | 291 | 294 | 296 | 302 | 291 | 300 | 300 | 308 | 297 | 309 | 307 | 301 | 319 | 318 | 302 | 303 | 303 | 298 | 293 | 283 | 284 | 289 | 285 | 279 | 278 | 274 | 290 | 274 | 283 | 278 | 272 | 275 | 272 | 269 | 272 | 274 | 282 | 267 | 270 | 264 | 264 | 262 | 262 | 260 | 261 | 258 | 259 | 250 | 241 | 247 | 242 | 244 | 237 | 238 | 239 | 243 | 233
2021-01-05 | Day 5 |  |  |  | 238 | 241 | 233 | 242 | 241 | 233 | 242 | 237 | 241 | 237 | 236 | 235 | 235 | 232 | 230 | 227 | 228 | 226 | 230 | 228 | 230 | 267 | 353.28 | 344.92 | 363.93 | 344.14 | 341.57 | 377.55 | 385.04 | 382.76 | 400.44 | 422.73 | 450.91 | 416.68 | 420.23 | 425.84 | 415.45 | 419.67 | 425.03 | 422.82 | 438.8 | 472.57 | 440.3 | 437.2 | 462.72 | 467.47 | 445.92 | 445.82 | 437.29 | 433.01 | 442.66 | 441.31 | 438.25 | 428.88 | 422.92 | 420.82 | 433.16 | 451.08 | 426.76 | 420.62 | 422.6 | 419.04 | 419.1 | 421.85 | 445.24 | 426.43 | 411.9 | 412.65 | 409.35 | 407.39 | 415.9 | 433.31 | 418.12 | 405.32 | 404.78 | 424.12 | 417.67 | 403.14 | 400.51 | 392.68 | 402.47 | 399.92 | 430 | 397.42 | 395.45 | 397.13 | 390.32 | 381.67 | 392.43 | 361.93 | 364.05 | 384.41 | 365.11 | 355.7 | 356.9 | 356.55
2021-01-19 | Day 6 |  |  |  | 221 | 224 | 216 | 225 | 224 | 216 | 225 | 220 | 224 | 220 | 219 | 218 | 218 | 215 | 213 | 210 | 211 | 209 | 213 | 211 | 213 | 250 | 336.28 | 327.92 | 346.93 | 327.14 | 324.57 | 360.55 | 368.04 | 365.76 | 383.44 | 405.73 | 433.91 | 399.68 | 403.23 | 408.84 | 398.45 | 402.67 | 408.03 | 405.82 | 421.8 | 455.57 | 423.3 | 420.2 | 445.72 | 450.47 | 428.92 | 428.82 | 420.29 | 416.01 | 425.66 | 424.31 | 421.25 | 411.88 | 405.92 | 403.82 | 416.16 | 434.08 | 409.76 | 403.62 | 405.6 | 402.04 | 402.1 | 404.85 | 428.24 | 409.43 | 394.9 | 395.65 | 392.35 | 390.39 | 398.9 | 416.31 | 401.12 | 388.32 | 387.78 | 407.12 | 400.67 | 386.14 | 383.51 | 375.68 | 385.47 | 382.92 | 413 | 380.42 | 378.45 | 380.13 | 373.32 | 364.67 | 375.43 | 344.93 | 347.05 | 367.41 | 348.11 | 338.7 | 339.9 | 339.55
2021-01-27 | Day 7 |  |  |  | 262 | 261 | 249 | 250 | 261 | 249 | 250 | 254 | 252 | 248 | 243 | 244 | 247 | 237 | 247 | 245 | 246 | 238 | 245 | 244 | 251 | 244 | 252 | 262 | 255 | 295 | 325 | 316 | 330 | 320 | 346 | 332 | 329 | 314 | 313 | 311 | 298 | 294 | 290 | 293 | 296 | 298 | 304 | 293 | 302 | 302 | 310 | 299 | 311 | 309 | 303 | 321 | 320 | 304 | 305 | 305 | 300 | 295 | 285 | 286 | 291 | 287 | 281 | 280 | 276 | 292 | 276 | 285 | 280 | 274 | 277 | 274 | 271 | 274 | 276 | 284 | 269 | 272 | 266 | 266 | 264 | 264 | 262 | 263 | 260 | 261 | 252 | 243 | 249 | 244 | 246 | 239 | 240 | 241 | 245 | 235
2021-01-28 | Day 8 |  |  |  | 264 | 263 | 251 | 252 | 263 | 251 | 252 | 256 | 254 | 250 | 245 | 246 | 249 | 239 | 249 | 247 | 248 | 240 | 247 | 246 | 253 | 246 | 254 | 264 | 257 | 297 | 327 | 318 | 332 | 322 | 348 | 334 | 331 | 316 | 315 | 313 | 300 | 296 | 292 | 295 | 298 | 300 | 306 | 295 | 304 | 304 | 312 | 301 | 313 | 311 | 305 | 323 | 322 | 306 | 307 | 307 | 302 | 297 | 287 | 288 | 293 | 289 | 283 | 282 | 278 | 294 | 278 | 287 | 282 | 276 | 279 | 276 | 273 | 276 | 278 | 286 | 271 | 274 | 268 | 268 | 266 | 266 | 264 | 265 | 262 | 263 | 254 | 245 | 251 | 246 | 248 | 241 | 242 | 243 | 247 | 237
2021-03-02 | Day 9 |  |  |  | 268 | 267 | 255 | 256 | 267 | 255 | 256 | 260 | 258 | 254 | 249 | 250 | 253 | 243 | 253 | 251 | 252 | 244 | 251 | 250 | 257 | 250 | 258 | 268 | 261 | 301 | 331 | 322 | 336 | 326 | 352 | 338 | 335 | 320 | 319 | 317 | 304 | 300 | 296 | 299 | 302 | 304 | 310 | 299 | 308 | 308 | 316 | 305 | 317 | 315 | 309 | 327 | 326 | 310 | 311 | 311 | 306 | 301 | 291 | 292 | 297 | 293 | 287 | 286 | 282 | 298 | 282 | 291 | 286 | 280 | 283 | 280 | 277 | 280 | 282 | 290 | 275 | 278 | 272 | 272 | 270 | 270 | 268 | 269 | 266 | 267 | 258 | 249 | 255 | 250 | 252 | 245 | 246 | 247 | 251 | 241
2021-02-03 | Day 10 |  |  |  | 242 | 241 | 229 | 230 | 241 | 229 | 230 | 234 | 232 | 228 | 223 | 224 | 227 | 217 | 227 | 225 | 226 | 218 | 225 | 224 | 231 | 224 | 232 | 242 | 235 | 275 | 305 | 296 | 310 | 300 | 326 | 312 | 309 | 294 | 293 | 291 | 278 | 274 | 270 | 273 | 276 | 278 | 284 | 273 | 282 | 282 | 290 | 279 | 291 | 289 | 283 | 301 | 300 | 284 | 285 | 285 | 280 | 275 | 265 | 266 | 271 | 267 | 261 | 260 | 256 | 272 | 256 | 265 | 260 | 254 | 257 | 254 | 251 | 254 | 256 | 264 | 249 | 252 | 246 | 246 | 244 | 244 | 242 | 243 | 240 | 241 | 232 | 223 | 229 | 224 | 226 | 219 | 220 | 221 | 225 | 215
[69 empty] | 334.396 | 336.472 | 321.06 | 326.76 | 322.44 | 318.056 | 323.26 | 328.424 | 320.548 | 317.228 | 318.212 | 330.748
Example of 10 peak days | FSA 1 (identify MPRN) |  | Input meter data (kWh) for each 15 min interval from each FSA mking up the FSU
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | FSA Meter Data | 154 | 156 | 153 | 155 | 156 | 155 | 155 | 155 | 154 | 155 | 154 | 155 | 154 | 154 | 154 | 155 | 154 | 157 | 154 | 153 | 154 | 154 | 155 | 153 | 155 | 155 | 153 | 156 | 153 | 153 | 155 | 154 | 155 | 152 | 152 | 154 | 154 | 155 | 152 | 154 | 151 | 153 | 153 | 153 | 153 | 152 | 153 | 153 | 153 | 157 | 153 | 154 | 153 | 152 | 156 | 154 | 154 | 151 | 153 | 152 | 156 | 154 | 153 | 152 | 153 | 153 | 151 | 155 | 152 | 154 | 152 | 153 | 154 | 156 | 155 | 153 | 154 | 154 | 155 | 157 | 156 | 156 | 155 | 155 | 156 | 156 | 157 | 157 | 156 | 156 | 157 | 156 | 158 | 154 | 157 | 155
2020-12-19 | Day 2 |  |  |  | 144 | 146 | 143 | 145 | 146 | 145 | 145 | 145 | 144 | 145 | 144 | 145 | 144 | 144 | 144 | 145 | 144 | 147 | 144 | 143 | 144 | 144 | 145 | 143 | 145 | 145 | 143 | 146 | 143 | 143 | 145 | 144 | 145 | 142 | 142 | 144 | 144 | 145 | 142 | 144 | 141 | 143 | 143 | 143 | 143 | 142 | 143 | 143 | 143 | 147 | 143 | 144 | 143 | 142 | 146 | 144 | 144 | 141 | 143 | 142 | 146 | 144 | 143 | 142 | 143 | 143 | 141 | 145 | 142 | 144 | 142 | 143 | 144 | 146 | 145 | 143 | 144 | 144 | 145 | 147 | 146 | 146 | 145 | 145 | 146 | 146 | 147 | 147 | 146 | 146 | 147 | 146 | 148 | 144 | 147 | 145
2020-12-23 | Day 3 |  |  |  | 139 | 141 | 138 | 140 | 141 | 140 | 140 | 140 | 139 | 140 | 139 | 140 | 139 | 139 | 139 | 140 | 139 | 142 | 139 | 138 | 139 | 139 | 140 | 138 | 140 | 140 | 138 | 141 | 138 | 138 | 140 | 139 | 140 | 137 | 137 | 139 | 139 | 140 | 137 | 139 | 136 | 138 | 138 | 138 | 138 | 137 | 138 | 138 | 138 | 142 | 138 | 139 | 138 | 137 | 141 | 139 | 139 | 136 | 138 | 137 | 141 | 139 | 138 | 137 | 138 | 138 | 136 | 140 | 137 | 139 | 137 | 138 | 139 | 141 | 140 | 138 | 139 | 139 | 140 | 142 | 141 | 141 | 140 | 140 | 141 | 141 | 142 | 142 | 141 | 141 | 142 | 141 | 143 | 139 | 142 | 140
2020-12-31 | Day 4 |  |  |  | 149 | 151 | 148 | 150 | 151 | 150 | 150 | 150 | 149 | 150 | 149 | 150 | 149 | 149 | 149 | 150 | 149 | 152 | 149 | 148 | 149 | 149 | 150 | 148 | 150 | 150 | 148 | 151 | 148 | 148 | 150 | 149 | 150 | 147 | 147 | 149 | 149 | 150 | 147 | 149 | 146 | 148 | 148 | 148 | 148 | 147 | 148 | 148 | 148 | 152 | 148 | 149 | 148 | 147 | 151 | 149 | 149 | 146 | 148 | 147 | 151 | 149 | 148 | 147 | 148 | 148 | 146 | 150 | 147 | 149 | 147 | 148 | 149 | 151 | 150 | 148 | 149 | 149 | 150 | 152 | 151 | 151 | 150 | 150 | 151 | 151 | 152 | 152 | 151 | 151 | 152 | 151 | 153 | 149 | 152 | 150
2021-01-05 | Day 5 |  |  |  | 129 | 131 | 128 | 130 | 131 | 130 | 130 | 130 | 129 | 130 | 129 | 130 | 129 | 129 | 129 | 130 | 129 | 132 | 129 | 128 | 129 | 129 | 130 | 128 | 130 | 130 | 128 | 131 | 128 | 128 | 130 | 129 | 130 | 127 | 127 | 129 | 129 | 130 | 127 | 129 | 126 | 128 | 128 | 128 | 128 | 127 | 128 | 128 | 128 | 132 | 128 | 129 | 128 | 127 | 131 | 129 | 129 | 126 | 128 | 127 | 131 | 129 | 128 | 127 | 128 | 128 | 126 | 130 | 127 | 129 | 127 | 128 | 129 | 131 | 130 | 128 | 129 | 129 | 130 | 132 | 131 | 131 | 130 | 130 | 131 | 131 | 132 | 132 | 131 | 131 | 132 | 131 | 133 | 129 | 132 | 130
2021-01-19 | Day 6 |  |  |  | 152 | 154 | 151 | 153 | 154 | 153 | 153 | 153 | 152 | 153 | 152 | 153 | 152 | 152 | 152 | 153 | 152 | 155 | 152 | 151 | 152 | 152 | 153 | 151 | 153 | 153 | 151 | 154 | 151 | 151 | 153 | 152 | 153 | 150 | 150 | 152 | 152 | 153 | 150 | 152 | 149 | 151 | 151 | 151 | 151 | 150 | 151 | 151 | 151 | 155 | 151 | 152 | 151 | 150 | 154 | 152 | 152 | 149 | 151 | 150 | 154 | 152 | 151 | 150 | 151 | 151 | 149 | 153 | 150 | 152 | 150 | 151 | 152 | 154 | 153 | 151 | 152 | 152 | 153 | 155 | 154 | 154 | 153 | 153 | 154 | 154 | 155 | 155 | 154 | 154 | 155 | 154 | 156 | 152 | 155 | 153
2021-01-27 | Day 7 |  |  |  | 146 | 148 | 145 | 147 | 148 | 147 | 147 | 147 | 146 | 147 | 146 | 147 | 146 | 146 | 146 | 147 | 146 | 149 | 146 | 145 | 146 | 146 | 147 | 145 | 147 | 147 | 145 | 148 | 145 | 145 | 147 | 146 | 147 | 144 | 144 | 146 | 146 | 147 | 144 | 146 | 143 | 145 | 145 | 145 | 145 | 144 | 145 | 145 | 145 | 149 | 145 | 146 | 145 | 144 | 148 | 146 | 146 | 143 | 145 | 144 | 148 | 146 | 145 | 144 | 145 | 145 | 143 | 147 | 144 | 146 | 144 | 145 | 146 | 148 | 147 | 145 | 146 | 146 | 147 | 149 | 148 | 148 | 147 | 147 | 148 | 148 | 149 | 149 | 148 | 148 | 149 | 148 | 150 | 146 | 149 | 147
2021-01-28 | Day 8 |  |  |  | 145 | 147 | 144 | 146 | 147 | 146 | 146 | 146 | 145 | 146 | 145 | 146 | 145 | 145 | 145 | 146 | 145 | 148 | 145 | 144 | 145 | 145 | 146 | 144 | 146 | 146 | 144 | 147 | 144 | 144 | 146 | 145 | 146 | 143 | 143 | 145 | 145 | 146 | 143 | 145 | 142 | 144 | 144 | 144 | 144 | 143 | 144 | 144 | 144 | 148 | 144 | 145 | 144 | 143 | 147 | 145 | 145 | 142 | 144 | 143 | 147 | 145 | 144 | 143 | 144 | 144 | 142 | 146 | 143 | 145 | 143 | 144 | 145 | 147 | 146 | 144 | 145 | 145 | 146 | 148 | 147 | 147 | 146 | 146 | 147 | 147 | 148 | 148 | 147 | 147 | 148 | 147 | 149 | 145 | 148 | 146
2021-03-02 | Day 9 |  |  |  | 156 | 158 | 155 | 157 | 158 | 157 | 157 | 157 | 156 | 157 | 156 | 157 | 156 | 156 | 156 | 157 | 156 | 159 | 156 | 155 | 156 | 156 | 157 | 155 | 157 | 157 | 155 | 158 | 155 | 155 | 157 | 156 | 157 | 154 | 154 | 156 | 156 | 157 | 154 | 156 | 153 | 155 | 155 | 155 | 155 | 154 | 155 | 155 | 155 | 159 | 155 | 156 | 155 | 154 | 158 | 156 | 156 | 153 | 155 | 154 | 158 | 156 | 155 | 154 | 155 | 155 | 153 | 157 | 154 | 156 | 154 | 155 | 156 | 158 | 157 | 155 | 156 | 156 | 157 | 159 | 158 | 158 | 157 | 157 | 158 | 158 | 159 | 159 | 158 | 158 | 159 | 158 | 160 | 156 | 159 | 157
2021-02-03 | Day 10 |  |  |  | 136 | 138 | 135 | 137 | 138 | 137 | 137 | 137 | 136 | 137 | 136 | 137 | 136 | 136 | 136 | 137 | 136 | 139 | 136 | 135 | 136 | 136 | 137 | 135 | 137 | 137 | 135 | 138 | 135 | 135 | 137 | 136 | 137 | 134 | 134 | 136 | 136 | 137 | 134 | 136 | 133 | 135 | 135 | 135 | 135 | 134 | 135 | 135 | 135 | 139 | 135 | 136 | 135 | 134 | 138 | 136 | 136 | 133 | 135 | 134 | 138 | 136 | 135 | 134 | 135 | 135 | 133 | 137 | 134 | 136 | 134 | 135 | 136 | 138 | 137 | 135 | 136 | 136 | 137 | 139 | 138 | 138 | 137 | 137 | 138 | 138 | 139 | 139 | 138 | 138 | 139 | 138 | 140 | 136 | 139 | 137
Example of 10 peak days | FSA 2 |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | FSA Meter Data | 101 | 98 | 89 | 88 | 91 | 90 | 86 | 81 | 83 | 85 | 76 | 85 | 84 | 85 | 77 | 83 | 83 | 87 | 83 | 92 | 101 | 94 | 133 | 165 | 154 | 168 | 160 | 183 | 172 | 169 | 152 | 152 | 149 | 139 | 135 | 129 | 132 | 134 | 139 | 143 | 135 | 142 | 142 | 150 | 139 | 152 | 149 | 143 | 161 | 156 | 144 | 144 | 145 | 141 | 132 | 124 | 125 | 133 | 127 | 122 | 117 | 115 | 132 | 117 | 125 | 120 | 116 | 115 | 115 | 110 | 115 | 116 | 123 | 106 | 110 | 106 | 105 | 103 | 102 | 98 | 100 | 97 | 99 | 90 | 80 | 86 | 80 | 82 | 76 | 77 | 77 | 82 | 70 | 75 | 74 | 70
2020-12-19 | Day 2 |  |  |  | 101 | 95 | 96 | 88 | 82 | 82 | 81 | 80 | 75 | 77 | 80 | 76 | 74 | 78 | 67 | 66 | 62 | 63 | 94 | 185.28 | 175.92 | 194.93 | 174.14 | 173.57 | 207.55 | 215.04 | 214.76 | 229.44 | 254.73 | 282.91 | 246.68 | 251.23 | 255.84 | 248.45 | 252.67 | 256.03 | 253.82 | 268.8 | 305.57 | 271.3 | 271.2 | 294.72 | 299.47 | 277.92 | 277.82 | 270.29 | 265.01 | 274.66 | 273.31 | 266.25 | 260.88 | 253.92 | 252.82 | 266.16 | 280.08 | 257.76 | 251.62 | 256.6 | 251.04 | 252.1 | 250.85 | 276.24 | 258.43 | 244.9 | 244.65 | 241.35 | 241.39 | 245.9 | 266.31 | 249.12 | 238.32 | 236.78 | 255.12 | 246.67 | 233.14 | 232.51 | 223.68 | 233.47 | 229.92 | 258 | 226.42 | 224.45 | 227.13 | 220.32 | 210.67 | 221.43 | 189.93 | 192.05 | 213.41 | 194.11 | 183.7 | 185.9 | 183.55 | 185.76 | 182.31 | 180.81
2020-12-23 | Day 3 |  |  |  | 113 | 106 | 108 | 106 | 106 | 108 | 105 | 108 | 106 | 104 | 101 | 103 | 97 | 101 | 133 | 134 | 109 | 98 | 97 | 185.28 | 175.92 | 194.93 | 174.14 | 173.57 | 207.55 | 215.04 | 214.76 | 229.44 | 254.73 | 282.91 | 246.68 | 251.23 | 255.84 | 248.45 | 252.67 | 256.03 | 253.82 | 268.8 | 305.57 | 271.3 | 271.2 | 294.72 | 299.47 | 277.92 | 277.82 | 270.29 | 265.01 | 274.66 | 273.31 | 266.25 | 260.88 | 253.92 | 252.82 | 266.16 | 280.08 | 257.76 | 251.62 | 256.6 | 251.04 | 252.1 | 250.85 | 276.24 | 258.43 | 244.9 | 244.65 | 241.35 | 241.39 | 245.9 | 266.31 | 249.12 | 238.32 | 236.78 | 255.12 | 246.67 | 233.14 | 232.51 | 223.68 | 233.47 | 229.92 | 258 | 226.42 | 224.45 | 227.13 | 220.32 | 210.67 | 221.43 | 189.93 | 192.05 | 213.41 | 194.11 | 183.7 | 185.9 | 183.55 | 185.76 | 182.31 | 180.81
2020-12-31 | Day 4 |  |  |  | 111 | 108 | 99 | 98 | 101 | 100 | 96 | 91 | 93 | 95 | 86 | 95 | 94 | 95 | 87 | 93 | 93 | 97 | 93 | 102 | 111 | 104 | 143 | 175 | 164 | 178 | 170 | 193 | 182 | 179 | 162 | 162 | 159 | 149 | 145 | 139 | 142 | 144 | 149 | 153 | 145 | 152 | 152 | 160 | 149 | 162 | 159 | 153 | 171 | 166 | 154 | 154 | 155 | 151 | 142 | 134 | 135 | 143 | 137 | 132 | 127 | 125 | 142 | 127 | 135 | 130 | 126 | 125 | 125 | 120 | 125 | 126 | 133 | 116 | 120 | 116 | 115 | 113 | 112 | 108 | 110 | 107 | 109 | 100 | 90 | 96 | 90 | 92 | 86 | 87 | 87 | 92 | 80 | 85 | 84 | 80
2021-01-05 | Day 5 |  |  |  | 109 | 110 | 105 | 112 | 106 | 111 | 107 | 106 | 106 | 105 | 103 | 100 | 98 | 99 | 97 | 100 | 99 | 98 | 138 | 225.28 | 215.92 | 234.93 | 214.14 | 213.57 | 247.55 | 255.04 | 254.76 | 269.44 | 294.73 | 322.91 | 286.68 | 291.23 | 295.84 | 288.45 | 292.67 | 296.03 | 293.82 | 308.8 | 345.57 | 311.3 | 311.2 | 334.72 | 339.47 | 317.92 | 317.82 | 310.29 | 305.01 | 314.66 | 313.31 | 306.25 | 300.88 | 293.92 | 292.82 | 306.16 | 320.08 | 297.76 | 291.62 | 296.6 | 291.04 | 292.1 | 290.85 | 316.24 | 298.43 | 284.9 | 284.65 | 281.35 | 281.39 | 285.9 | 306.31 | 289.12 | 278.32 | 276.78 | 295.12 | 286.67 | 273.14 | 272.51 | 263.68 | 273.47 | 269.92 | 298 | 266.42 | 264.45 | 267.13 | 260.32 | 250.67 | 261.43 | 229.93 | 232.05 | 253.41 | 234.11 | 223.7 | 225.9 | 223.55 | 225.76 | 222.31 | 220.81
2021-01-19 | Day 6 |  |  |  | 69 | 70 | 65 | 72 | 66 | 71 | 67 | 66 | 66 | 65 | 63 | 60 | 58 | 59 | 57 | 60 | 59 | 58 | 98 | 185.28 | 175.92 | 194.93 | 174.14 | 173.57 | 207.55 | 215.04 | 214.76 | 229.44 | 254.73 | 282.91 | 246.68 | 251.23 | 255.84 | 248.45 | 252.67 | 256.03 | 253.82 | 268.8 | 305.57 | 271.3 | 271.2 | 294.72 | 299.47 | 277.92 | 277.82 | 270.29 | 265.01 | 274.66 | 273.31 | 266.25 | 260.88 | 253.92 | 252.82 | 266.16 | 280.08 | 257.76 | 251.62 | 256.6 | 251.04 | 252.1 | 250.85 | 276.24 | 258.43 | 244.9 | 244.65 | 241.35 | 241.39 | 245.9 | 266.31 | 249.12 | 238.32 | 236.78 | 255.12 | 246.67 | 233.14 | 232.51 | 223.68 | 233.47 | 229.92 | 258 | 226.42 | 224.45 | 227.13 | 220.32 | 210.67 | 221.43 | 189.93 | 192.05 | 213.41 | 194.11 | 183.7 | 185.9 | 183.55 | 185.76 | 182.31 | 180.81
2021-01-27 | Day 7 |  |  |  | 116 | 113 | 104 | 103 | 106 | 105 | 101 | 96 | 98 | 100 | 91 | 100 | 99 | 100 | 92 | 98 | 98 | 102 | 98 | 107 | 116 | 109 | 148 | 180 | 169 | 183 | 175 | 198 | 187 | 184 | 167 | 167 | 164 | 154 | 150 | 144 | 147 | 149 | 154 | 158 | 150 | 157 | 157 | 165 | 154 | 167 | 164 | 158 | 176 | 171 | 159 | 159 | 160 | 156 | 147 | 139 | 140 | 148 | 142 | 137 | 132 | 130 | 147 | 132 | 140 | 135 | 131 | 130 | 130 | 125 | 130 | 131 | 138 | 121 | 125 | 121 | 120 | 118 | 117 | 113 | 115 | 112 | 114 | 105 | 95 | 101 | 95 | 97 | 91 | 92 | 92 | 97 | 85 | 90 | 89 | 85
2021-01-28 | Day 8 |  |  |  | 119 | 116 | 107 | 106 | 109 | 108 | 104 | 99 | 101 | 103 | 94 | 103 | 102 | 103 | 95 | 101 | 101 | 105 | 101 | 110 | 119 | 112 | 151 | 183 | 172 | 186 | 178 | 201 | 190 | 187 | 170 | 170 | 167 | 157 | 153 | 147 | 150 | 152 | 157 | 161 | 153 | 160 | 160 | 168 | 157 | 170 | 167 | 161 | 179 | 174 | 162 | 162 | 163 | 159 | 150 | 142 | 143 | 151 | 145 | 140 | 135 | 133 | 150 | 135 | 143 | 138 | 134 | 133 | 133 | 128 | 133 | 134 | 141 | 124 | 128 | 124 | 123 | 121 | 120 | 116 | 118 | 115 | 117 | 108 | 98 | 104 | 98 | 100 | 94 | 95 | 95 | 100 | 88 | 93 | 92 | 88
2021-03-02 | Day 9 |  |  |  | 112 | 109 | 100 | 99 | 102 | 101 | 97 | 92 | 94 | 96 | 87 | 96 | 95 | 96 | 88 | 94 | 94 | 98 | 94 | 103 | 112 | 105 | 144 | 176 | 165 | 179 | 171 | 194 | 183 | 180 | 163 | 163 | 160 | 150 | 146 | 140 | 143 | 145 | 150 | 154 | 146 | 153 | 153 | 161 | 150 | 163 | 160 | 154 | 172 | 167 | 155 | 155 | 156 | 152 | 143 | 135 | 136 | 144 | 138 | 133 | 128 | 126 | 143 | 128 | 136 | 131 | 127 | 126 | 126 | 121 | 126 | 127 | 134 | 117 | 121 | 117 | 116 | 114 | 113 | 109 | 111 | 108 | 110 | 101 | 91 | 97 | 91 | 93 | 87 | 88 | 88 | 93 | 81 | 86 | 85 | 81
2021-02-03 | Day 10 |  |  |  | 106 | 103 | 94 | 93 | 96 | 95 | 91 | 86 | 88 | 90 | 81 | 90 | 89 | 90 | 82 | 88 | 88 | 92 | 88 | 97 | 106 | 99 | 138 | 170 | 159 | 173 | 165 | 188 | 177 | 174 | 157 | 157 | 154 | 144 | 140 | 134 | 137 | 139 | 144 | 148 | 140 | 147 | 147 | 155 | 144 | 157 | 154 | 148 | 166 | 161 | 149 | 149 | 150 | 146 | 137 | 129 | 130 | 138 | 132 | 127 | 122 | 120 | 137 | 122 | 130 | 125 | 121 | 120 | 120 | 115 | 120 | 121 | 128 | 111 | 115 | 111 | 110 | 108 | 107 | 103 | 105 | 102 | 104 | 95 | 85 | 91 | 85 | 87 | 81 | 82 | 82 | 87 | 75 | 80 | 79 | 75
Example of 10 peak days | FSA 3 |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | FSA Meter Data
2020-12-19 | Day 2
2020-12-23 | Day 3
2020-12-31 | Day 4
2021-01-05 | Day 5
2021-01-19 | Day 6
2021-01-27 | Day 7
2021-01-28 | Day 8
2021-03-02 | Day 9
2021-02-03 | Day 10
Example of 10 peak days | FSA 4 |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | FSA Meter Data
2020-12-19 | Day 2
2020-12-23 | Day 3
2020-12-31 | Day 4
2021-01-05 | Day 5
2021-01-19 | Day 6
2021-01-27 | Day 7
2021-01-28 | Day 8
2021-03-02 | Day 9
2021-02-03 | Day 10
Example of 10 peak days | FSA 5 |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
| 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
2020-12-04 | Day 1 |  |  | FSA Meter Data
2020-12-19 | Day 2
2020-12-23 | Day 3
2020-12-31 | Day 4
2021-01-05 | Day 5
2021-01-19 | Day 6
2021-01-27 | Day 7
2021-01-28 | Day 8
2021-03-02 | Day 9
2021-02-03 | Day 10
Note on A13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are not as per '10 Peak Days in Service Window'; illustrative dates in 'Worked example' tab need to be consistent

## Baseline calc template
|  |  |  | Delivery Period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Zone Name |  |  | Meter window | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 0:00
| Product |  |  | Settlement Period | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
Service Window
| Delivery period | 16:00 | 18:00
| Baseline position (kW) | 0
| Baseline position (MW) | 0
FSU Overall Average
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 3 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 5 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 6 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 7 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 8 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 9 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DD/MM/YYYY | Day 10 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FSA 1 (identify MPRN) |  |  | Input meter data (kWh) for each 15 min interval from each FSA mking up the FSU
MPRN:
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | FSA Meter Data
DD/MM/YYYY | Day 2
DD/MM/YYYY | Day 3
DD/MM/YYYY | Day 4
DD/MM/YYYY | Day 5
DD/MM/YYYY | Day 6
DD/MM/YYYY | Day 7
DD/MM/YYYY | Day 8
DD/MM/YYYY | Day 9
DD/MM/YYYY | Day 10
FSA 2 (identify MPRN) |  |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
MPRN:
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | FSA Meter Data
DD/MM/YYYY | Day 2
DD/MM/YYYY | Day 3
DD/MM/YYYY | Day 4
DD/MM/YYYY | Day 5
DD/MM/YYYY | Day 6
DD/MM/YYYY | Day 7
DD/MM/YYYY | Day 8
DD/MM/YYYY | Day 9
DD/MM/YYYY | Day 10
FSA 3 (identify MPRN) |  |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
MPRN:
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | FSA Meter Data
DD/MM/YYYY | Day 2
DD/MM/YYYY | Day 3
DD/MM/YYYY | Day 4
DD/MM/YYYY | Day 5
DD/MM/YYYY | Day 6
DD/MM/YYYY | Day 7
DD/MM/YYYY | Day 8
DD/MM/YYYY | Day 9
DD/MM/YYYY | Day 10
FSA 4 (identify MPRN) |  |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
MPRN:
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | FSA Meter Data
DD/MM/YYYY | Day 2
DD/MM/YYYY | Day 3
DD/MM/YYYY | Day 4
DD/MM/YYYY | Day 5
DD/MM/YYYY | Day 6
DD/MM/YYYY | Day 7
DD/MM/YYYY | Day 8
DD/MM/YYYY | Day 9
DD/MM/YYYY | Day 10
FSA 5 (identify MPRN) |  |  | Input meter data (MWh) for each 15 min interval from each FSA mking up the FSU
MPRN:
10 peak days in Service Window | 15 min meter intervals in kW |  |  |  | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
DD/MM/YYYY | Day 1 |  |  | FSA Meter Data
DD/MM/YYYY | Day 2
DD/MM/YYYY | Day 3
DD/MM/YYYY | Day 4
DD/MM/YYYY | Day 5
DD/MM/YYYY | Day 6
DD/MM/YYYY | Day 7
DD/MM/YYYY | Day 8
DD/MM/YYYY | Day 9
DD/MM/YYYY | Day 10

## 10 Peak Days in Service Window
Clonroche Zone |  | Blake Edenderry Zone |  | Corduff Zone |  | Finglas McDermott Zone |  | Tullow Shillelagh Baltinglass Zone
Top 10 days of peak demand |  | Top 10 days of peak demand |  | Top 10 days of peak demand |  | Top 10 days of peak demand |  | Top 10 days of peak demand
Secure | Dynamic | Secure | Restore | Secure | Dynamic | Secure | Dynamic | Secure | Restore
2019-01-02 |  | 2019-05-19 |  | 2019-02-12 | 2019-04-11 | 2019-10-29 | 2019-12-02 | 2019-01-23
2019-02-21 |  | 2019-06-03 |  | 2019-02-15 | 2019-04-04 | 2019-10-30 | 2019-12-18 | 2019-01-30
2019-04-05 |  | 2019-06-27 |  | 2019-03-18 | 2019-05-06 | 2019-10-22 | 2019-12-11 | 2019-01-17
2019-05-07 |  | 2019-06-30 |  | 2019-04-12 | 2019-07-05 | 2019-10-23 | 2019-12-10 | 2019-02-04
2019-05-08 |  | 2019-07-15 |  | 2019-04-18 | 2019-07-13 | 2019-10-21 | 2019-12-17 | 2019-01-22
2019-06-21 |  | 2019-07-18 |  | 2019-05-23 | 2019-08-10 | 2019-10-24 | 2019-12-16 | 2019-01-09
2019-08-18 |  | 2019-08-21 |  | 2019-05-27 | 2019-11-27 | 2019-10-31 | 2019-12-03 | 2019-12-02
2019-09-13 |  | 2019-08-31 |  | 2019-05-30 | 2019-11-28 | 2019-10-25 | 2019-01-21 | 2019-12-17
2019-10-19 |  | 2019-09-01 |  | 2019-06-10 | 2019-11-29 | 2019-10-14 | 2019-11-13 | 2019-01-18
2019-12-03 |  | 2019-11-24 |  | 2019-07-21 | 2019-12-19 | 2019-10-15 | 2019-12-04 | 2019-01-10